## Sheet1
Insulation Thermal Conductivity (W.m-1.K-1)	Exterior Surface Emissivity	Air speed Parallel to Cylinder (m.s-1)	Standard

Insulation Thermal Conductivity (W.m-1.K-1)
Exterior Surface Emissivity
Air speed Parallel to Cylinder (m.s-1)
Standard

cylinder_data_202021_Check_Testing.xlsx							cylinder_data.xlsx
							2021-07-26
		out_report_202108021930.xlsx
n	n	n					n
Manufacturer	Manufacturer	Manufacturer					Manufacturer
Model Code	Model Code	Model Code					Model Code
Capacity (m3)	Capacity (m3)	Capacity (m3)					Capacity (m3)
Diameter (m)	Diameter (m)	Diameter (m)					Diameter (m)
Height (m)	Height (m)	Height (m)					Height (m)
Fittings	Fittings	Fittings					Fittings
TPR Valves	TPR Valves	TPR Valves					TPR Valves
Thermostat Pockets	Thermostat Pockets	Thermostat Pockets					Thermostat Pockets
Insulation Thermal Conductivity (W.m-1.K-1)	Insulation Thermal Conductivity (W.m-1.K-1)	Insulation Thermal Conductivity (W.m-1.K-1)					Insulation Thermal Conductivity (W.m-1.K-1)
Exterior Surface Emissivity	Exterior Surface Emissivity	Exterior Surface Emissivity					Exterior Surface Emissivity
Air speed Parallel to Cylinder (m.s-1)	Air speed Parallel to Cylinder (m.s-1)	Air speed Parallel to Cylinder (m.s-1)					Air speed Parallel to Cylinder (m.s-1)
Standard	Standard	Standard					Standard
		Temperature Rise used for computing losses statistics (K)
		Optimal Radial Insulation Thickness (m)
		Optimal End Insulation Thickness (m)
		Inner Diameter (m)
		Inner Height (m)
		Inner Volume Check (m3)
		External Aspect (height/diameter) ratio
		Internal Aspect (height/diameter) ratio
		Minimum insulation losses (without penalty) (kWh.day-1)
		Minimum insulation losses (with penalty) (kWh.day-1)
		Losses from fittings (including TPR valve) (kWh.day-1)
		Total losses (kWh.day-1)
		Total losses standard deviation (kWh.day-1)
		MEPS losses including TPR valve where applicable (kWh.day-1)
		Calculated z score to pass MEPS
		Probability of any cylinder complying with MEPS given the z score calculated
		Probability of any cylinder passing stage 2 check testing
		Modified temperature rise to hot water cylinder exterior (K)
		Exterior to ambient temperature rise (K)
		Thermal losses at modified temperature rise (kWh.day-1)
		Thermal losses at modified temperature rise standard deviation (kWh.day-1)
		Calculated z score to pass MEPS with modified T rise
		Probability of any cylinder with modified T rise complying with MEPS given the z score calculated
		Probability of any cylinder with modified T rise passing stage 2 check testing

		Tested Losses

## cylinder_data_202021_Check_Testing.xlsx
column	field name	2nd row
1	n	-
2	Manufacturer	-
3	Model Code	-
4	Capacity (m3)	-
5	Diameter (m)	-
6	Height (m)	-
7	Fittings	-
8	TPR Valves	-
9	Thermostat Pockets	-
10	Insulation Thermal Conductivity (W.m-1.K-1)	k
11	Exterior Surface Emissivity	-
12	Air speed Parallel to Cylinder (m.s-1)	-
13	Standard	-